## Six Way Control Valves
Six Way Control Valves
Terminator Six Way - T6 Series
ISO 5211 Mounting, Orifice Plate Inserts, Linear Flow Characteristics
Body
| HCI PN | Size | Connection | Weight (LBS)
| T6-AF-1.45 | 1/2" | UNION | 2.39
| T6-BF-4.62 | 3/4" | UNION | 4.2
| T6-AU-1.45 | 1/2" | FNPT | 2.2
| T6-AU-3.24 | 1/2" | FNPT | 4.1
Connction Options
| Part Number | Size | Connection | Weight (LBS)
| UAF-T6-P | 1/2" | FNPT Union Nut | 0.2
| HCB-12 | 3/4" X 12" | MNPT x Union | 0.8
| HCB-18 | 3/4" x 18" | MNPT x Union | 0.9
| HCB-24 | 3/4" x 24" | MNPT x Union | 1.1
| HCB-36 | 3/4" x 36" | MNPT x Union | 1.4
Actuator
| Part Number | Description | Connection | Weight (LBS)
| T6A-P | 6-way, 24VAC, 0-10V, 3-point |  | 1.5
Accessories
| Part Number | Description |  | Weight ( LBS)
| T6-MB-P | T6 Angel Mounting Bracket |  | -
| T6-PLIERS | PLIERS FOR T6 CV DISCS |  | -
| T6I-A | 1/2” Insulator Case |  | -
| T6I-B | 3/4” Insulator Case |  | -
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## PICV Valves
Pressure Independent Control Valves
Terminator PICV 91 Series - Pressure Independent Control Valve
PT Ports, Differential Pressure Regulator, External Flow Presetting Dial, Axial Control Valve, Location Tag, 360 WOG
Control Range: 3-60 PSI
| Part Number | Size | Outlet Connection | Inlet Connection | Flow Rate Range (GPM)
| T91-AFF-0.66 | 1/2" | FNPT | FNPT | 0.07-0.66
| T91-AFF-2.64 | 1/2" | FNPT | FNPT | 0.26-2.64
| T91-AFF-3.43 | 1/2" | FNPT | FNPT | 0.34-3.43
| T91-BFF-4.40 | 3/4" | FNPT | FNPT | 0.44-4.44
| T91-BFF-6.60 | 3/4" | FNPT | FNPT | 0.66-6.6
Terminator PICV 93 Series - Pressure Independent Control Valve
PT Ports, Differential Pressure Regulator, External Flow Presetting Dial, Double Union Connection, Axial Control Valve, Location
Tag, 360 WOG, Control Range: 3-60 PSI
| Part Number | Size | Outlet Connection | Inlet Connection | Flow Rate Range ( GPM)
| T93-B_ _-9.68 | 3/4" | E.g. FNPT | E.g. FNPT | .97 - 9.68
| T93-B_ _-11.91 | 3/4" | - | - | 1.19 - 11.9
| T93-C_ _-11.9 | 1" | - | - | 1.19 - 11.9
| T93-C_ _-13.2 | 1" | - | - | 1.32 - 13.2
PICV Actuator 91/93 Series - Fail in Place
Nema 2, UL Listed, Ambient Temperature: 32°F to 122°F
| Part Number | Voltage | Starting Position | Signal
| VA-7482-8002-RA | 24 VAC | NO* | 0(2)-10 VDC, 0(4)-20 mA
NO*= Normally Open
PICV Actuator 91/93 Series - Fail Safe
Nema 1, UL Listed, Ambient Temperature: 32°F to 120°F
| Part Number | Voltage | Starting Position | Signal
| ME4840 | 24 VAC | NO* | 0(2)-10 VDC
| ME4940 | 24 VAC | NC* | 0(2)-10 VDC
NO*= Normally Open
NC*= Normally Closed
Actuator Mounting Rings for Factory Approved Compatible Brands
Note: A mounting ring is included with every PICV actuator. A ring only needs to be purchased if the actuator for the
91/93 series valve is sourced separately.
| Part Number | Stem Connection | Manufacture Brand | Manufacture Model
| 0A7010 | M28X30X1.5 | Spartan | ALL
|  | M28X30X1.5 | JCI | VA-7482
|  | M28X30X1.5 | Siemens | SSD31UG
|  | M28X30X1.5 | Siemens | SSD61UG
|  | M28X30X1.5 | Siemens | SSD81UG
| 0M7410 | M28X30X1.5 | Honeywell | M6410A
|  | M28X30X1.5 | Honeywell | M7410F
Terminator PICV 85 Series - Pressure Independent Control Valve
PT Ports, Differential Pressure Regulator, Double Union Connection, Rotary Control Valve, Location Tag, 230 WOG
Control Range: 5-60 PSI, Presetting Device
| Part Number | Size | Outlet Connection | Inlet Connection | Flow Rate Range ( GPM) | Weight (Lbs)
| T85-DFF-26.4 | 1-1/4" | FNPT | FNPT | 6.6-26.4 | 18.5
| T85-EFF-39.6 | 1-1/2" | FNPT | FNPT | 9.9-39.6 | 18.5
| T85-FFF-52.8 | 2" | FNPT | FNPT | 13.2-52.8 | 34.5
| T82-FFF-79.2 | 2" | FNPT | FNPT | 19.8-79.2 | 34.5
PICV Actuator 85 Series -Fail in Place
Nema 5, UL Listed, Ambient Temperature: -22°F to 140°F
| Part Number | Voltage | Starting Position | Signal
| VA9310-HGA-2 | 24 VAC | NO* | On/Off, 3-Point, 0(2)-10 VDC
NO*= Normally Open
PICV Actuator 85 Series -Fail Safe
Nema 2, UL Listed, Ambient Temperature: -40°F to 140°F
| HCI Part Number | Voltage | Starting Position | Signal
| VA9208-GGA-2 | 24 VAC | NO* or NC* | On/Off 3-Point, 0(2)-10 VDC
*Must indicate Starting Position NO* = Normaly Open, NC* = Normaly Closed
Terminator PICV 94FA Series - Pressure Independent Control Valve with Actuator
PT Ports, Differential Pressure Regulator, Flange Connection (ANSI B16.1), Face to Face Standard (ISA-75.08.01), Multiturn
Control Valve, Location Tag, 230 WOG, Control Range: 4.35-58 PSI, Assembled with PICV 94 Series Actuator
| Part Number | Size | Outlet Connection | Inlet Connection | Maxium Flow
| T94FA-GFF-132 | 2-1/2" | Flanged | Flanged | 132
| T94FA-HFF-132 | 3" | Flanged | Flanged | 132
| T94FA-IFF-242 | 4" | Flanged | Flanged | 242
| T94FA-JFF-660 | 6" | Flanged | Flanged | 660
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Control Valves
Control Valves
Terminal Unit Bronze Body Valve Assemblies
2-Way Valve Body with Female Threaded Ports In and Out: Low Zinc Bronze, Alloy C84400
Pressure Rated: 400 PSI to 150°F and 250 PSI to 250°F, Stem Travel 5/32” (4mm)
| Part Number | Size | Connection | Porting | Cv* Must select
| V243-12N-EP_ _ | 1/2" | FNPT X FNPT | 2-WAY | 0.5,1.0,1.5,2.0,2.5,3.0,3.5
| V243-12N-EB_ _ | 1/2" | FNPT X FNPT | 2-WAY | 0.5,1.0,1.5,2.0,2.5,3.0,3.5
| V243-34N-EP_ _ | 3/4" | FNPT X FNPT | 2-WAY | 1.0,1.5,2.0,2.5,3.0,3.5,4.5
| V243-34N-EB_ _ | 3/4" | FNPT X FNPT | 2-WAY | 1.0,1.5,2.0,2.5,3.0,3.5,4.6
| V243-10N-EB_ _ | 1" | FNPT X FNPT | 2-WAY | 6.0,9.0
Terminal Unit Bronze Body Valve Assemblies
3-Way Valve Body with Male Threaded Ports In and Out: Low Zinc Bronze, Alloy C84400
Pressure Rated: (400 PSI to 150°F and 250 PSI to 250°F), Stem Travel 5/32” (4mm)
| Part Number | Size | Connection | Porting | Cv* Must select
| V321-12N-EX_ _ | 1/2" | MNPT | 3-WAY | 2.0,3.0
| V321-34N-EX_ _ | 3/4" | MNPT | 3-WAY | 2.0,3.0
Note: 3x MNPT Tailpieces included with valve
Note: NO actuator position = B --> AB Flow
Note: NC actuator position = A --> AB Flow
Terminal Unit Actuators Electric Spring Return Fail Safe
NEMA 1, 8 VA Power Consumption (0.3A at 24 VAC), 40°F to 122°F Temperature Range
| Part Number | Voltage | Starting Position | Signal
| ME4430W | 24V | NO | ON/OFF
| ME4430S | 24V | NO | ON/OFF
| ME4530W | 24V | NC | ON/OFF
| ME4530S | 24V | NC | ON/OFF
| ME4840 | 24VAC | NO | Modulating ( 2-10VDC)
| ME4940 | 24 VAC | NC | Modulating ( 2-10VDC)
| ME4640 | 24 VAC | NO | 3-Point Floating
W=Wire Harness, S=End Switch
NO=Normally Open, NC=Normally Closed
Terminal Unit Actuators Electric Spring Return Fail in Place
NEMA 1, 8 VA Power Consumption (0.3A at 24 VAC), 40°F to 122°F Temperature Range
| Part Number | Voltage | Starting Position | Signal
| ME4140 | 24 VAC | - | 3-Point Floating
| ME4340 | 24 VAC | NO | Modulating (0/2-10VDC)
Spring Return Control Valves Assemblies Fail Safe, 2-Way Port
Universal 2-Way Globe Valve & Actutor Assembly, -25°F to 130°F, Maximum Valve Body Differental Presusre: 60 PSI
Actuator
| Part Number | Size | Connection | Porting | Available Cvs | Signal | Starting Postion*
| VE411(2)-_ _-5430 | 1" | FNPT | 2-Way | 6,11 | ON/OFF | NO or NC
| VE411(2)-_ _-5430 | 1-1/2" | FNPT | 2-Way | 16, 24 | ON/OFF | NO or NC
| VE411(2)-_ _-5440 | 2" | FNPT | 2-Way | 35, 45 | ON/OFF | NO or NC
| VE411(2)-_ _-5830 | 1" | FNPT | 2-Way | 6, 11 | 0-10 Vdc | NO or NC
| VE411(2)-_ _-5830 | 1-1/2" | FNPT | 2-Way | 16, 24 | 0-10 Vdc | NO or NC
| VE411(2)-_ _-5840 | 2" | FNPT | 2-Way | 35, 45 | 0-10 Vdc | NO or NC
*Must indicate Starting Position: NO= Normally Open, NC= Normally Closed
_ _= Specify Cv
Control Valve Assemblies, Fail Safe, 3-Way Port
Universal 3-Way Globe Valve & Actutor Assembly, -25°F to 130°F, Maximum Valve Body Differental Presusre: 60 PSI
| Part Number | Size | Connection | Porting | Available Cvs | Signal | Starting Postion*
| VE411-_ _-5430 | 1" | FNPT | 3-Way | 6, 11 | ON/OFF | NO or NC
| VE411-_ _-5430 | 1-1/2" | FNPT | 3-Way | 16, 24 | ON/OFF | NO or NC
| VE411-_ _-5440 | 2" | FNPT | 3-Way | 35, 45 | ON/OFF | NO or NC
| VE411-_ _-5830 | 1" | FNPT | 3-Way | 6, 11 | 0-10 Vdc | NO or NC
| VE411-_ _-5830 | 1-1/2" | FNPT | 3-Way | 16, 24 | 0-10 Vdc | NO or NC
| VE411-_ _-5840 | 2" | FNPT | 3-Way | 35, 45 | 0-10 Vdc | NO or NC
*Must indicate Starting Position, NO = B --> AB, NC = A --> AB
_ _ = Specify Cv
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Manual_Globe Balancing Valves
Manual Balancing Valves
Terminator B - Venturi Balance & Shutoff Valve
Integrated Ball Valve with Memory Stop, Union, Venturi, PT Ports, Location Tag, 400 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Flow Rate Selection | Weight (LBs)
| TB-A_ _ | 1/2" | E.g FNPT | E.g. FNPT | E.g. 7 GPM | 1.3
| TB-B_ _ | 3/4" | - | - | - | 1.3
| TB-C_ _ | 1" | - | - | - | 2
| TB-D_ _ | 1-1/4" | - | - | - | 3
| TB-E_ _ | 1-1/2" | - | - | - | 4.4
| TB-F_ _ | 2" | - | - | - | 6.4
Optional Accessories: Air Vent-Handle Extension- PT Port Extension
Terminator B Press - Venturi Balance & Shutoff Valve
Integrated Ball Valve with Memory Stop, Union, Venturi, PT Ports, Location Tag, 250 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Flow Rate Selection | Weight (LBs)
| TB-AP _ | 1/2" | Press | E.g FNPT | E.g 7 GPM | 1.3
| TB-BP _ | 3/4" | Press | - | - | 1.3
| TB-CP _ | 1" | Press* | - | - | 2
| TB-DP_ | 1-1/4" | Press* | - | - | 3
| TB-EP _ | 1-1/2" | Press* | - | - | 4.4
| TB-FP_ | 2" | Press* | - | - | 6.4
Optional Accessories: Air Vent - Handle Extension - PT Port Extensions
*1” - 2” Terminator B Press is a FNPT Body with MNPT x Press Adapter
Terminator B - Venturi Balance & Shutoff Valve
Integrated Venturi Metering Station, Butterfly Valve with Positioning Handle, PT Port, Location Tag, 200 PSI
| Part Number | Size | Outlet Connection | Inlet Selection | Flow Rate (GPM) | Weight (LBs)
| TB-GLF-L | 2-1/2" | Lugged | Flanged | 23.7-71.5 | 36
| TB-GLF-H | 2-1/2" | Lugged | Flanged | 47-143 | 36
| TB-HLF-L | 3" | Lugged | Flanged | 36.5-110.5 | 40
| TB-HLF-H | 3" | Lugged | Flanged | 83.5-251 | 40
| TB-ILF | 4" | Lugged | Flanged | 148-447 | 59
| TB-JLF | 6" | Lugged | Flanged | 238-176 | 87
| TB-KLF | 8" | Lugged | Flanged | 445-1345 | 150
Optional Accessories: PT Port Extensions - Gear Operator
Terminator MS - Venturi Tube Meter Station Flanged
ANSI Class 150 Flanged, Carbon Steel, Venturi Meter Station with 2 PT Ports, Location Tag, 600 PSI
| Part Number | Size | Outlet Connection | Inlet Selection | Flow Rate (GPM) | Weight (LBS)
| MS-GFF-L | 2-1/2" | Flanged | Flanged | 23.7-71.5 | 24
| MS-GFF-H | 2-1/2" | Flanged | Flanged | 47-143 | 24
| MS-HFF-L | 3" | Flanged | Flanged | 36.5-110.5 | 27
| MS-HFF-H | 3" | Flanged | Flanged | 83.50-251.0 | 27
| MS-IFF | 4" | Flanged | Flanged | 148-447 | 39
| MS-JFF | 6" | Flanged | Flanged | 238-716 | 59
| MS-KFF | 8" | Flanged | Flanged | 445-1345 | 150
Terminator GV - Globe Valve
Variable Orifice, Threaded & Solder Connections, Memory Stop, 300 WOG
| Part Number | Size | Minimum Flow | Nominal Flow | Maximun Flow | Weight (LBS)
Threaded Connection
| TGV-AFF | 1/2" | 0.14 | 0.50-3.08 | 12.1 | 1.2
| TGV-BFF | 3/4" | 0.26 | 3.80-5.50 | 17.4 | 1.3
| TGV-CFF | 1" | 0.37 | 5.50-9.50 | 30 | 1.7
| TGV-DFF | 1-1/4" | 0.6 | 9.50-14 | 44.6 | 2.7
| TGV-EFF | 1-1/2" | 0.91 | 14-20 | 66.4 | 3.3
| TGV-FFF | 2" | 1.52 | 20-33 | 107.2 | 5.1
| Part Number | Size | Minimum Flow | Nominal Flow | Maximun Flow | Weight (LBS)
Solder Connection
| TGV-ACC | 1/2" | 0.14 | 0.50-3.08 | 12.1 | 1.2
| TGV-BCC | 3/4" | 0.26 | 3.80-5.50 | 17.4 | 1.3
| TGV-CCC | 1" | 0.37 | 5.50-9.50 | 30 | 1.7
| TGV-DCC | 1-1/4" | 0.6 | 9.50-14 | 44.6 | 2.7
| TGV-ECC | 1-1/2" | 0.91 | 14-20 | 66.4 | 3.3
| TGV-FCC | 2" | 1.52 | 20-33 | 107.2 | 5.1
Terminator GV Flanged- Globe Valve
Variable Orifice, Memory Stop, 230 WOG
| Part Number | Size | Minimum Flow | Nominal Flow | Maximun Flow | Weight (LBS)
| TGV-GFF | 2-1/2" | 2.13 | 33-100 | 318.3 | 30.9
| TGV-HFF | 3" | 4.19 | 100-117 | 374.5 | 44.1
| TGV-IFF | 4" | 6.08 | 117-200 | 646.8 | 57.3
| TGV-KFF | 6" | 13.7 | 320-440 | 1447 | 88.2
| TGV-LFF | 8" | 30 | 450-750 | 2415 | 110.2
| TGV-MFF | 10" | 47 | 750-1300 | 4050 | 260
| TGV-NFF | 12" | 43 | 1300-1600 | 5115 | 390
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Automatic Balancing Valves
Automatic Balancing Valves
Terminator A Compact - Integrated Automatic Balancing Valve with Union
Integrated Ball Valve, Union, PT ports, Automatic Flow Cartridge, Location Tag, 600 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Flow Rate Selection | Weight (LBs)
| TA1-B_ _-L | 3/4" | E.g. FNPT | E.g. FNPT | E.g. 1.0 GPM | 1.4
Optional Accessories: Air Vent - PT Port Extension - Handle Extension
Terminator A - Integrated Automatic Balancing Valve with Union
Integrated Ball Valve, Union, PT ports, Automatic Flow Cartridge, Location Tag, 600 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Flow Rate Selection | Weight (LBs)
| TA-A_ _-L | 1/2" | E.g. F | E.g. F | E.g. 2.0 GPM | 1.4
| TA-B_ _-L | 3/4" | - | - | - | 2.4
| TA-C_ _-L | 1" | - | - | - | 2.8
| TA-D_ _-L | 1-1/4" | - | - | - | 4.8
| TA-E_ _-L | 1-1/2" | - | - | - | 5
| TA-F_ _-L | 2" | - | - | - | 9.3
Optional Accessories: Air Vent - PT Port Extension - Handle Extension
Terminator A Press - Integrated Automatic Balancing Valve with Union
PT Ports, Automatic Flow Cartridge, Location Tag, 250 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Flow Rate Selection | Weight (LBs)
| TA-AP_-L | 1/2" | Press | FNPT | E.g. 0.33 GPM | 1.4
| TA-BP_-L | 3/4" | Press | - | - | 2.4
| TA-CP_-L | 1" | Press * | - | - | 2.8
| TA-DP_-L | 1-1/4" | Press * | - | - | 4.8
| TA-EP_-L | 1-1/2" | Press* | - | - | 5
| TA-EP_-L | 2" | Press* | - | - | 9.3
Optional Accessories: Air Vent - PT Port Extension - Handle Extension
* 1” - 2” Terminator A Press is a FNPT Body with MNPT x Press Adapter
Terminator A - Automatic Flow Limiter
PT Ports, Automatic Flow Cartridge, Union, 400 WOG
| Part Number | Size | Outlet Connection | Inlet Selection | Flow Rate Selection | Weight (LBs)
| TAF-A_ _ | 1/2" | E.g FNPT | E.g FNPT | E.g. 3.0 GPM | 2.3
| TAF-B_ _ | 3/4" | - | - | - | 2.3
| TAF-C_ _ | 1" | - | - | - | 2.3
Terminator A - Integrated Automatic Balancing Valve
PT Ports, Automatic Flow Cartridge, Wafer Connection, Location Tag, 400 WOG
| Part Number | Size | Outlet/ Body Connection | Inlet/ Tailpiece Selection | Maxium Flow | Weight (LBs)
| TA-GW-L | 2-1/2" | Wafer | Wafer | 80 | 13
| TA-GW-H | 2-1/2" | Wafer | Wafer | 120 | 13
| TA-HW-L | 3" | Wafer | Wafer | 135 | 20
| TA-HW-H | 3" | Wafer | Wafer | 170 | 20
| TA-IW-L | 4" | Wafer | Wafer | 270 | 26
| TA-IW-H | 4" | Wafer | Wafer | 340 | 26
| TA-JW-L | 6" | Wafer | Wafer | 540 | 32
| TA-JW-H | 6" | Wafer | Wafer | 680 | 32
| TA-KW-L | 8" | Wafer | Wafer | 945 | 44
| TA-KW-H | 8" | Wafer | Wafer | 1190 | 44
Notes: These valves are special made to order, please allow 2-3 weeks lead time.
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Combination Strainer Valves
Combination Strainer Valves
Terminator Y Compact - Y-Pattern Combination Ball Valve Strainer
Isolation Ball Valve, 20 Mesh Strainer with Union and PT Port, 600 WOG
| Part Number | Size | Inlet/ Body Connection | Outlet/ Tailpiece Selection | Weight (lbs)
| TY1-B_ _ | 3/4" | E.g FNPT | E.g FNPT | 1.5
Optional Accessories: Drain/Blowdown Valve - Air Vent - PT Port Extensions -Handle Extension
Terminator Y - Y-Pattern Combination Ball Valve Strainer
Integrated Ball Valve, 20 Mesh Strainer with Union and PT Port, 600 WOG
| Part Number | Size | Inlet/ Body Connection | Outlet/ Tailpiece Selection | Weight (lbs)
| TY-A_ _ | 1/2" | E.g FNPT | E.g. FNPT | 1.5
| TY-B_ _ | 3/4" | - | - | 2.3
| TY-C_ _ | 1" | - | - | 2.5
| TY-D_ _ | 1-1/4" | - | - | 4.5
| TY-E_ _ | 1-1/2" | - | - | 5
| TY-F_ _ | 2" | - | - | 10
Optional Acessories: Drain/Blowdown valve- Air Vent- PT Port Extension- Handle Extension
* shown with optional
blowdown drain
Terminator Y Press - Y-Pattern Combination Ball Valve Strainer
Integrated Ball Valve, 20 Mesh Strainer with Union and PT Port, 250 WOG
| Part Number | Size | Inlet/ Body Connection | Outlet/ Tailpiece Selection | Weight (lbs)
| TY-AP _ | 1/2" | Press | E.g FNPT | 1.5
| TY-BP _ | 3/4" | Press | - | 2.3
| TY-CP _ | 1" | Press* | - | 2.5
| TY-DP _ | 1-1/4" | Press* | - | 4.5
| TY-EP _ | 1-1/2" | Press* | - | 5
| TY-FP _ | 2" | Press* | - | 10
Optional Accessories: Drain/Blowdown Valve - Air Vent - PT Port Extension, Handle Extension
* 1” - 2” Terminator A Press is a FNPT Body with MNPT x Press Adapter
Terminator S Junior ( Body Only)- Strainer & Shutoff Valve with Back Flush
Integrated Ball Valve, 20 Mesh Strainer, FIP x FIP Body, 400 WOG
| Part Number | Size | Inlet Connection | Outlet Selection | Weight (lbs)
| TS-AF | 1/2" | FNPT | FNPT | 2
| TS-BF | 3/4" | FNPT | FNPT | 2
| TS-CF | 1" | FNPT | FNPT | 2.8
| TS-DF | 1-1/4"* | FNPT | FNPT | 4.5
| TS-EF | 1-1/2"* | FNPT | FNPT | 7
| TS-FF | 2"* | FNPT | FNPT | 15
Optional Accessories: Blowdown - Handle Extension
* No backflush feature
Terminator S - Strainer & Shutoff Valve
Integrated Butterfly Valve, SS-304 Strainer, PT Port and Additional Accessory Tappings, 200 PSI, 150°F
| Part Number | Size | Inlet Connection | Outlet Selection | Weight (lbs)
| TS-GLF | 2-1/2" | Lugged | Flanged | 45
| TS-HLF | 3" | Lugged | Flanged | 51
| TS-ILF | 4" | Lugged | Flanged | 88
| TS-JLF | 6" | Lugged | Flanged | 166
| TS-KLF | 8" | Lugged | Flanged | 312
Optional Accessories: Drain/Blowdown Valve - Accessory Extensions - Gear Operator
Terminator Y - Strainer and Additional Tappings
ANSI Class 125 Flanged Cast Iron Strainer with SS-304 Screen with 3 Additional Accessory Tappings, 200 PSI, 150°F
| Part Number | Size | Inlet Connection | Outlet Selection | Weight (lbs)
| YS-GFF | 2-1/2" | Flange | Flange | 33
| YS-HFF | 3" | Flange | Flange | 38
| YS-IFF | 4" | Flange | Flange | 67
| YS-JFF | 6" | Flange | Flange | 138
| YS-KFF | 8" | Flange | Flange | 275
Optional Accessories: Drain Valve / Blowdown - PT Ports - Air Vent - Accessory Extensions - Butterfly Shut-off Valve
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Combination Ball Valves
Combination Ball Valves
Terminator N - 100% Full Port Multi-Function Valve
Integrated Ball Valve, Union & PT Port, Additional Tapping for Optional Accessory
600 WOG (1/2”-1”), 500 WOG (1-1/4”-2”)
| Part Number | Size | Body Connection | Tailpiece Selection | Weight (lbs)
| NT-A_ _ | 1/2" | E.g FNPT | E.g FNPT | 1
| NT-B_ _ | 3/4" | - | - | 1.3
| NT-C_ _ | 1" | - | - | 2.3
| NT-D_ _ | 1-1/4" | - | - | 2.5
| NT-E_ _ | 1-1/2" | - | - | 3.5
| NT-F_ _ | 2" | - | - | 5.3
Optional Accessories: Drain Valve - Handle Extension - Air Vent - PT Port Extension - Memory Stop
Terminator N Press - 100% Full Port Multi-function Valve
Integrated Ball Valve, Union & PT Port, Additional Tapping for Optional Accessory, 250 WOG
| Part Number | Size | Body Connection | Tailpiece Selection | Weight (lbs)
| NT-AP _ | 1/2" | Press | E.g FNPT | 1
| NT-BP _ | 3/4" | Press | - | 1.3
| NT-CP _ | 1" | Press* | - | 2.3
| NT-DP _ | 1-1/4" | Press* | - | 2.5
| NT-EP_ _ | 1-1/2" | Press* | - | 3.5
| NT-FP_ _ | 2" | Press* | - | 5.3
Optional Accessories: Drain Valve - Handle Extension - Air Vent - PT Port Extension - Memory Stop
* 1-2” Terminator N Press is a FNPT body with MNPT x Press adapter
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Union
Unions
Terminator U - with PT Port
Hydronic Union, PT Port, Accessory Taps, 400 WOG
| Part Number | Size | Body Connection | Tailpiece Selection | Weight (lbs)
| TU-A_ _ | 1/2" | E.g FNPT | E.g FNPT | 0.6
| TU-B _ _ | 3/4" | - | - | 0.7
| TU-C _ _ | 1" | - | - | 0.9
| TU-D _ _ | 1-1/4" | - | - | 1.3
| TU-E _ _ | 1-1/2" | - | - | 1.9
| TU-F _ _ | 2" | - | - | 3
Optional Accessories: Drain/Blowdown Valve - Air Vent - PT Port & Accessory Extensions
Terminator U Press
Hydronic Union, PT Port, Accessory Taps 400 WOG
| Part Number | Size | Body Connection | Tailpiece Selection | Weight (lbs)
| TU-AP_ | 1/2" | Press | E.g F | 0.6
| TU-BP_ | 3/4" | Press |  | 0.7
| TU-CP_ | 1" | Press* |  | 1.2
| TU-DP_ | 1-1/4" | Press* |  | 1.6
| TU-EP_ | 1-1/2" | Press* |  | 2.6
| TU-FP_ | 2" | Press* |  | 3.9
Optional Accessoreis: Drain/Blowdown Valve - Air Vent - PT Port & Accessory Extensions
*1" - 2" Terminator U Press is a FNPT Body with MNPT x Press Adaptor
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Flexible Hoses
Flexible Hose Connectors
Flexible Hose Connectors
Stainless Steel Braided Hose with EPDM Inner Core MNPT x Female Swivel
1/2”-1” NPSM Gasketless Male Cone to Adapter Connection MNPT or Copper Sweat
1-1/4”-2” BA-U Gasket Male Fitting to Adapter Connection MNPT or Copper Sweat
ASTME84 Fire Rated
| Part Number | Size | Fiexed End Connection | Swivel/Union End Selection | Length | Weight (lbs)
| HC-AM_-12 | 1/2" | MNPT | E.g. C | 12" | 0.5
| HC-AM_-18 | 1/2" | MNPT | - | 18" | 0.6
| HC-AM_-24 | 1/2" | MNPT | - | 24" | 0.7
| HC-AM_-36 | 1/2" | MNPT | - | 36" | 0.8
| HC-BM_-12 | 3/4" | MNPT | - | 12" | 0.9
| HC-BM_-18 | 3/4" | MNPT | - | 18" | 1
| HC-BM_-24 | 3/4" | MNPT | - | 24" | 1.2
| HC-BM_-36 | 3/4" | MNPT | - | 36" | 1.5
| HC-CM_-12 | 1" | MNPT | - | 12" | 1.5
| HC-CM_-18 | 1" | MNPT | - | 18" | 1.7
| HC-CM_-24 | 1" | MNPT | - | 24" | 1.9
| HC-CM_-36 | 1" | MNPT | - | 36" | 2.5
| HC-DM_-18 | 1-1/4" | MNPT | - | 18" | 2.6
| HC-DM_-24 | 1-1/4" | MNPT | - | 24" | 3.1
| HC-DM_-36 | 1-1/4" | MNPT | - | 36" | 3.6
| HC-EM_-18 | 1-1/2" | MNPT | - | 18" | 3.6
| HC-EM_-24 | 1-1/2" | MNPT | - | 24" | 4.1
| HC-EM_-36 | 1-1/2" | MNPT | - | 36" | 5.1
| HC-FM_-24 | 2" | MNPT | - | 24" | 6.8
| HC-FM_-36 | 2" | MNPT | - | 36" | 7.3
Flexible Hose Replacement Connectors
| Part Number | Size | Body Connection | Swivel/UnionEnd Selection | Weight (lbs)
| HC-A_ | 1/2" | Male x Cone | E.g. C | 0.1
| HC-B_ | 3/4" | Male x Cone | - | 0.2
| HC-C_ | 1" | Male x Cone | - | 0.4
| HC-D_ | 1-1/4" | Male x Gasket | - | 0.6
| HC-E_ | 1-1/2" | Male x Gasket | - | 0.8
| HC-F_ | 2" | Male x Gasket | - | 1
Flexible Hose Replacement Gasket
| Part Number | Size | Description | Weight (lbs)
| HCD-Gasket | 1-1/4" | BA-U Fiber Gasket | 0.01
| HCE-Gasket | 1-1/2" | BA-U Fiber Gasket | 0.01
| HCF-Gasket | 2" | BA-U Fiber Gasket | 0.01
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Valves
Valves
H100NE - Full Port Ball Valve FNPT x FNPT
Forged Brass Body, TEA Coated Brass Ball, Brass Stem with Double Viton® O-rings
600 WOG (1/2"-3/4")
500 WOG ( 1"-2")
400 WOG ( 2-1/2"-4")
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| H100-703 | 1/2" | FNPT X FNPT | 0.5
| H100-704 | 3/4" | FNPT X FNPT | 0.8
| H100-705 | 1" | FNPT X FNPT | 1.3
| H100-706 | 1-1/4" | FNPT X FNPT | 2
| H100-707 | 1-1/2" | FNPT X FNPT | 2.8
| H100-708 | 2" | FNPT X FNPT | 4
H100CG - Lead Free Full Port Ball Valve Sweat x Sweat
Forged Brass Body, TEA Coated Brass Ball, Brass Stem with Double Viton® O-Rings
600 WOG (1/2”-3/4”)
500 WOG (1”-2”)
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| H100-813 | 1/2" | SWT X SWT | 0.5
| H100-814 | 3/4" | SWT X SWT | 0.8
| H100-815 | 1" | SWT X SWT | 1.3
| H100-816 | 1-1/4" | SWT X SWT | 2
| H100-817 | 1-1/2" | SWT X SWT | 2.8
| H100-818 | 2" | SWT X SWT | 4
H-100SS - Full Port Ball Valve with Stainless Steel Trim FNPT x FNPT
Forged Brass Valve with TEA Coated Body, 316 Stainless Steel Ball and Stem with Double Viton® O-Rings
600 WOG (1/2”-3/4”)
500 WOG (1”-2”)
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| H100-503 | 1/2" | FNPT X FNPT | 0.5
| H100-504 | 3/4" | FNPT X FNPT | 0.8
| H100-505 | 1" | FNPT X FNPT | 1.3
| H100-506 | 1-1/4" | FNPT X FNPT | 2
| H100-507 | 1-1/2" | FNPT X FNPT | 2.8
| H100-508 | 2" | FNPT X FNPT | 4
H100P- Full Port Ball Valve Press x Press
Forged Brass Body, Chrome Plated Brass Ball, Brass Sem with Double Viton® O-Rings
250 WOG
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| H100-203 | 1/2" | Press x Press | 0.06
| H100-204 | 3/4" | Press x Press | 1
| H100-205 | 1" | Press x Press | 1.6
| H100-206 | 1-1/4" | Press x Press | 1.9
| H100-207 | 1-1/2" | Press x Press | 3.25
| H100-208 | 2" | Press x Press | 4.85
H100FM- Full Port Ball Valve FNPT x MNPT
Forged Brass Body, Chrome Plated Brass Ball, Brass Stem with Double Viton® O-Ring
600 WOG (1/4"-3/4")
500 WOG ( 1")
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| H100-601 | 1/4" | FNPT X MNPT | 0.3
| H100-602 | 3/8" | FNPT X MNPT | 0.4
| H100-603 | 1/2" | FNPT X MNPT | 0.5
| H100-604 | 3/4" | FNPT X MNPT | 0.9
| H100-605 | 1" | FNPT X MNPT | 1.4
Terminator BFV - Lugged Type with Positioning Handle
ANSI Class 125 Lugged Cast Iron BFV with EPDM seats, 416SS stem, CF8M/ SS Disc, 200 PSI
| Part Number | Size | Valve Connection Type | Weight (Lbs)
| BF-GLL | 2-1/2" | Lug x Lug | 12.5
| BF-HLL | 3" | Lug x Lug | 12.5
| BF-ILL | 4" | Lug x Lug | 20.5
| BF-JLL | 6" | Lug x Lug | 28
| BF-KLL* | 8" | Lug x Lug | 45.5
Optional Accessories: Gear Operator 2-1/2” - 8” Note: Wafer available
Note: Wafer available
*BF-KLL does not include lever handle
**Price reflects no handle
Terminator BFV Gear Operator
| Part Number | Size | Weight (Lbs)
| BG02-3 | 2-1/2" -3" | 12.5
| BG04 | 4" | 12.5
| BG05-6 | 6" | 20.5
| BG08 | 8" | 28
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Hydronic Accessories
Hydronic Accessories
Mini Drain or Blowdown Valve
Forged Brass Body, Chrome Plated Brass Ball, Brass Stem with Double Viton® O-Ring
600 WOG
| Part Number | Size | Valve Connection Type | Valve Connection Type | Weight (Lbs)
| H100-398 | 1/4" | 1/4" FNPT | 1/8" MNPT | 0.2
| H100-399 | 1/4" | 1/4" FNPT | 1/4" MNPT | 0.2
| H100-400 | 1/4" | 1/4" FNPT | 1/4" MNPT | 0.2
Drain or Blowdown Valve with 3/4” Garden Hose Male
Forged Brass Body, Chrome Plated Brass Ball, Brass Stem with DoubleViton® O-Ring
600 WOG
| Part Number | Size | Inlet Connection | Outlet Connection | Weight (Lbs)
| TQ-B1 | 1/4" | 1/4" MNPT | 3/4" GH | 0.4
| TQ-B3-N | 1/2" | 1/2" MNPT | 3/4" GH | 0.7
| TQ-B4 | 3/4" | 3/4" MNPT | 3/4" GH | 1
Manual Air Vent
Nickle Plated Brass, Coin Operated, Screwdriver Slot
| Part Number | Standard/ Extension | Size | Inlet Connection | Compatible With |  | Weight (Lbs)
[5 empty] | TB / NT/ TU | TA/ TY
| TV-A2 | Standard | 1/4" | MNPT | 1/2" -2" | - | 0.3
| TV-A2* | Standard | 1/4" | MNPT | - | 1/2"-1" | 0.3
| TV-A2** | Standard | 1/4" | MNPT | - | 1-1/4"-2" | 0.3
| TVX-A2-N | Extension | 1/4" | MNPT | 1/2"-2" | - | 0.4
| TVX-A2-N* | Extension | 1/4" | MNPT | - | 1/2"-1" | 0.4
| TVX-A2-N** | Extension | 1/4" | MNPT | - | 1-1/4", 1-1/2", 2" | 0.4
Note: Termintoar B (TB) and Terminator A (TA, TA1) require two (2) PT ports each.
*Includes Bushing to Install into 1/2" Port
**Includes Bushing to Install into 3/4" Port
Pressure Temperature Port
Brass Body
| Part Number | Inlet Connection | Port Length | Weight
| SP-B | 1/4" | 1-1/2" | 0.1
Note: *Manual and Automatic Balancing Valves require two pressure temperature ports.
Pressure Temperature Port / Extension
Brass Body
| Part Number | Port Length | Weight
| PTE | 2" | 0.2
Note: *Manual and Automatic Balancing Valves require two pressure temperature ports.
Ball Valve Memory Stop
Forged Brass Stop, 0-100% Indicator Pad, Compatible with TX-MS Series Handle Extension
| Part Number | Compatible With |  |  | Weight (Lbs)
|  | TB | NT | H100
| MS-A | 1-2", 3/4" | 1/2" | 1/2" | 0.5
| MS-B | 1" | 3/4" | 3/4" | 0.5
| MS-C | 1-1/4",1-1/2" | 1", 1-1/4" | 1", 1-1/4" | 0.5
| MS-D | 2" | 1-1/2", 2" | 1-1/2", 2" | 0.15
Ball Valve Handle Extension
2” Long Brass Extension Compatible with Ball Valve Memory Stop*
| Part Number | Compatible With |  |  |  |  | Weight (Lbs)
| Number | TB | TA | TY | NT | H100
| TX-A-MS | 1/2", 3/4" | 1/2" | 1/2" | 1/2" | 1/2" | 0.4
| TX-B-MS | 1" | 3/4",1" | 3/4",1" | 3/4" | 3/4" | 0.5
| TX-C-MS | 1-1/4", 1-1/2" | 1-1/4", 1-1/2" | 1-1/4",1-1/2" | 1", 1-1/4" | 1", 1-1/4" | 0.6
| TX-D-MS | 2" | 2" | 2" | 1-1/2",2" | 1-1/2", 2" | 0.6
* Memory stop not included
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Replacement Parts
Replacement Parts
Terminator 93 Union Body Series Replacement Union O-Rings
Viton® O-Ring for Union Seal on Terminator 93 Series Union Body
| Part Number | Size | Compatible With | Weight (lbs)
| VOR-C | 3/4"-1" | Fits Termintor 93 Series | 0.01
Terminator N & Terminator B Replacement
Viton® O-Ring for Union Seal on Terminator N & Terminator B
| Part Number | Size | Compatible With | Weight (Lbs)
| VOR-A | 1/2" | Fits 1/2" Terminator N | 0.01
| VOR-B | 3/4" | Fits 3/4" Terminator N & 1/2" & 3/4" TB Series | 0.01
| VOR-C | 1" | Fits 1" Terminator N & TB Series | 0.01
| VOR-D | 1-1/4" | Fits 1-1/4” Terminator N & TB Series | 0.01
| VOR-E | 1-1/2" | Fits 1-1/2" Terminator N & TB Series | 0.02
| VOR-F | 2" | Fits 2" Terminator N & TB Series | 0.02
Terminator U, Y, S & A Replacement Union Gaskets
EPDM O-ring
| Part Number | Size | Compatible With | Weight (Lbs)
| VOR-N-1 | 1/2" | Fits Terminator U, Y,S & A Series | 0.01
| VOR-N-2 | 3/4"-1" | Fits Terminator U, Y,S & A Series | 0.01
| VOR-N-3 | 1-1/4"-1-1/2" | Fits Terminator U, Y,S & A Series | 0.01
| VOR-N-4 | 2" | Fits Terminator U, Y,S & A Series | 0.02
Terminator A1/Y1 Replacement Union Gasket (Compact Style)
EPDM O-Ring
| Part Number | Size | Compatible With | Weight (Lbs)
| VOR-N-1 | 1/2" | Fits 3/4" Compact TA1 & TY1 | 0.01
Terminator Y Replacement Filters
304 Stainless Steel Filters - 20 Mesh
| Part Number | Size | Description | Weight (Lbs)
| H221-233 | 1/2" | Terminator Y 20 Mesh 304 Filter | 0.01
| H221-234 | 3/4"-1" | Terminator Y 20 Mesh 304 Filter | 0.01
| H221-235 | 1-1/4"-1-1/2" | Terminator Y 20 Mesh 304 Filter | 0.01
| H221-236 | 2" | Terminator Y 20 Mesh 304 Filter | 0.03
TB, TA & PICV Replacement Tag
| Part Number | Size | Description | Weight (Lbs)
| TB-RT | ALL SIZES | Terminator B Balancing Valve Tag | 0.01
| TB-RTA | ALL SIZES | Terminator B Balancing Valve Tag | 0.01
| TB-RTE | ALL SIZES | Terminator B Balancing Valve Tag | 0.01
Assembly Charges
Piping Package Connection Charges
Labor to Mount Control Valves, Flex Houses or Custom Packages
| Part Number | Size | Description
| TL-A | 1/2" | Piping Connection Charge-Per Connection
| TL-B | 3/4" | Piping Connection Charge-Per Connection
| TL-C | 1" | Piping Connection Charge-Per Connection
| TL-D | 1-1/4" | Piping Connection Charge-Per Connection
| TL-E | 1-1/2" | Piping Connection Charge-Per Connection
| TL-F | 2" | Piping Connection Charge-Per Connection
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640

## Fittings
Fittings
Brass Tee
Special Order
| Part Number | Size | Weight (lbs)
| TT-A | 1/2" FNPT | 0.3
| TT-B | 3/4" FNPT | 0.5
| TT-C | 1" FNPT | 0.9
| TT-D | 1-1/4" FNPT | 1.4
| TT-E | 1-1/2" FNPT | 2
| TT-F | 2"FNPT | 2.7
Brass Reducing Couplings
| Part Number | Size | Weight (Lbs)
| H119-KF | 3/4" FNPT X 1/2" FNPT | 0.3
| H119-MK | 1" FNPT X 3/4" FNPT | 0.3
| H119-QM | 1-1/4" FNPT X 1" FNPT | 0.55
| H119-RM | 1-1/2" FNPT X 1" FNPT | 0.65
| H119-RQ | 1-1/2" FNPT X 1-1/4" FNPT | 0.65
| H119-SM | 2" FNPT X 1" FNPT | 1
| H119-SR | 2" FNPT X 1-1/2" FNPT | 1
Brass Female x Female Coupling
| Part Number | Size | Weight (Lbs)
| HAB-103F | 1/2" FNPT X 1/2" FNPT | 0.3
| HAB-103K | 3/4" FNPT X 3/4" FNPT | 0.3
| HAB-103M | 1" FNPT X 1" FNPT | 0.55
| HAB-103Q | 1-1/4" FNPT X 1-1/4" FNPT | 0.65
| HAB-103R | 1-1/2" FNPT X 1-1/2" FNPT | 0.7
| HAB-103S | 2" FNPT X 1" FNPT | 1
Brass Elbow Coupling
| Part Number | Size | Weight (Lbs)
| L-A | 1/2 IN. FIP X FIP 90 ELBOW | 0.3
| L-B | 3/4 IN. FIP X FIP 90 ELBOW | 0.3
| L-C | 1 IN. FIP X FIP 90 ELBOW | 0.55
| L-D | 1-1/4 IN. FIP X FIP 90 ELBOW | 0.65
| L-E | 1-1/2 IN. FIP X FIP 90 ELBOW | 0.7
| L-F | 2 IN. FIP X FIP 90 ELBOW | 1
| L-A1 | 1/2 IN. FIP X MIP STREET 90 | 0.3
| L-B1 | 3/4 IN. FIP X MIP STREET 90 | 0.3
| L-C1 | 1 IN. FIP X MIP STREET 90 | 0.55
Brass Hex Bushings
| Part Number | Size | Weight (Lbs)
| H110-CA | 1/4" MNPT X 1/8" FNPT | 0.03
| H110-EC | 3/8" MNPT X 1/4" FNPT | 0.03
| H110-FA | 1/2" MNPT X 1/8" FNPT | 0.1
| H110-FC | 1/2" MNPT X 1/4" FNPT | 0.1
| H110-FE | 1/2" MNPT X 3/8" FNPT | 0.05
| H110-KC | 3/4" MNPT X 1/4" FNPT | 0.2
| H110-KE | 3/4" MNPT X 3/8" FNPT | 0.2
| HB-BA | 3/4" MNPT X 1/2" FNPT | 0.15
| HB-CA | 1" MNPT X 1/2" FNPT | 0.25
| HB-CB | 1" MNPT X 3/4" FNPT | 0.2
| HB-DA | 1-1/4" MNPT X 1/2" FNPT | 0.35
| HB-DB | 1-1/4" MNPT X 3/4" FNPT | 0.45
| HB-DC | 1-1/4" MNPT X 1" FNPT | 0.4
| HB-EB | 1-1/2" MNPT X 3/4" FNPT | 0.5
| HB-EC | 1-1/2" MNPT X 1" FNPT | 0.5
| HB-ED | 1-1/2" MNPT X 1-1/4" FNPT | 0.5
| HB-FC | 2" MNPT X 1" FNPT | 0.85
| HB-FD | 2" MNPT X 1-1/4" FNPT | 0.85
| HB-FE | 2" MNPT X 1-1/2" FNPT | 0.85
Brass Nipples
| Part Number | Size
| H122-KF | 3/4" MIP X 1/2" MIP BRASS HEX NIPPLE
Close Nipple
| CN-A | 1/2"
| CN-B | 3/4"
| CN-C | 1"
| CN-D | 1-1/4"
| CN-E | 1-1/2"
| CN-F | 2"
1/2" Nipple
| N-1/2X 1-1/2 | 1/2" X 1-1/2"
| N-1/2x2 | 1/2" X 2"
| N-1/2X2-1/2 | 1/2" X 2-1/2"
| N-1/2X3 | 1/2" X 3"
| N-1/2X4 | 1/2" X 4"
| N-1/2X5 | 1/2" X 5"
| N-1/2X5.5 | 1/2" X 5.5"
| N-1/2X6 | 1/2" X 6"
| N-1/2X7 | 1/2" X 7"
| N-1/2X9 | 1/2" X 9"
| N-1/2X12 | 1/2" X 12"
3/4" Nipple
| N-3/4X3 | 3/4" X 3"
| N-3/4X4 | 3/4" X 4 "
| N-3/4X5 | 3/4" X 5"
| N-3/4X12 | 3/4" X 12"
1" Nipple
| N-1X3 | 1" X 3"
| N-1X4 | 1" X 4"
| N-1X5 | 1" X 5"
1-1/4" Nipple
| N-1-1/4X3 | 1-1/4" X 3"
| N-1-1/4X5 | 1-1/4" X 5"
| N-1-1/4X6 | 1-1/4" X 6"
| N-1-1/4X8 | 1-1/4" X 8"
1-1/2" Nipple
| N-1-1/2X3 | 1-1/2" X 3"
| N-1-1/2X5 | 1-1/2" X 5"
| N-1-1/2X6 | 1-1/2" X 6"
| N-1-1/2X8 | 1-1/2" X 8"
2" Nipple
| N-2X3 | 2" X 3"
| N-2X6 | 2" X 6"
| N-2x10 | 2" X 10"
Copper to Male Adapters
| Part Number | Size
| CA-A | 1/2" | 1/2" MNPT X 1/2" SWT
| CA-AB | 1/2" X 3/4" | 1/2" MNPT X 3/4" SWT
| CA-B | 3/4" | 3/4” MNPT X 3/4" SWT
| CA-BA | 3/4" X 1/2" | 3/4" MNPT X 1/2" SWT
| CA-C | 1" | 1” MNPT X 1" SWT
| CA-CA | 1" X 1/2" | 1" MNPT X 1/2" SWT
| CA-CB | 1" X 3/4" | 1" MNPT X 3/4" SWT
| CA-CD | 1" X 1-1/4" | 1 " MNPT X 1-1/4" SWT
| CA-D | 1-1/4" | 1-1/4” MNPT X 1-1/4" SWT
| CA-DC | 1-1/4" X 1" | 1-1/4" MNPT X 1" SWT
| CA-E | 1-1/2" | 1-1/2” MNPT X 1-1/2" SWT
| CA-F | 2" | 2” MNPT X 2" SWT
Copper Press to Male Adapters
| Part Number | Size | Weight (Lbs)
| PF-AM | 1/2" | 0.01
| PF-BM | 3/4" | 0.02
| PF-CM | 1" | 0.3
| PF-DM | 1-1/4" | 0.35
| PF-EM | 1-1/2" | 0.7
| PF-FM | 2" | 0.9
Copper Fitting Reducer
| Part Number | Nominal Size | Description | Weight (Lbs)
| H118-FE | 1/2" X 3/8" | 5/8" O.D. X 1/2" O.D. SWT Adapter | 0.05
| H118-FC | 1/2" X 1/4" | 5/8" O.D. X 3/8" O.D SWT Adapter | 0.05
| H118-KF | 3/4" X 1/2" | 7/8" O.D. X 5/8" O.D SWT Adapter | 0.05
| H118-KE | 3/4" X 3/8" | 7/8" O.D. X 1/2" O.D SWT Adapter | 0.05
| H118-MF | 1" X 1/2" | 1-1/8" O.D. X 5/8" O.D SWT Adapter | 0.05
| H118-MK | 1" X 3/4" | 1-1/8" O.D. X 7/8" O.D SWT Adapter | 0.1
| H118-QF | 1-1/4" X 1/2" | 1-3/8" O.D. X 5/8" O.D SWT Adapter | 0.15
| H118-QM | 1-1/4" X 1" | 1-3/8" O.D. X 1-1/8" O.D SWT Adapter | 0.15
| H118-RF | 1-1/2" X 1/2" | 1-5/8" O.D. X 5/8" O.D SWT Adapter | 0.2
| H118-RM | 1-1/2" X 1" | 1-5/8" O.D. X 1-1/8" O.D SWT Adapter | 0.2
| H118-RQ | 1-1/2" X 1-1/4" | 1-5/8" O.D. X 1-3/8" O.D SWT Adapter | 0.2
| H118-SM | 2" X 1" | 2-1/8" O.D. X 1-1/8" O.D SWT Adapter | 0.35
| H118-SQ | 2" X 1-1/4" | 2-1/8" O.D. X 1-3/8" O.D SWT Adapter | 0.35
Note: Information subject to change without notice
7243 Miller Drive, Warren, MI 48092• www.hciterminator.com• Phone: 1-586-268-1640